## BrewstersAngle
Experiment 1
measurement #	Incident Angle [degrees]	Brewster's angle [degrees]	index of refraction	checks	checks
1	145.5	55.5	1.455	angle not too small	angle not too large
2	149.5	59.5	1.698	angle not too small	angle not too large
3	148	58	1.600	angle not too small	angle not too large
4	147.5	57.5	1.570	angle not too small	angle not too large
5	148.1	58.1	1.607	angle not too small	angle not too large
			average index
	Read this directly from protractor		1.586
			standard deviation
			8.74E-02

Experiment 2
measurement #	Incident Angle [degrees]	Brewster's angle [degrees]	index of refraction	checks	checks
1	145.5	55.5	1.455	angle not too small	angle not too large
2	149.5	59.5	1.698	angle not too small	angle not too large
3	148	58	1.600	angle not too small	angle not too large
4	147.5	57.5	1.570	angle not too small	angle not too large
5	148.1	58.1	1.607	angle not too small	angle not too large
			average index
	Read this directly from protractor		1.586
			standard deviation
			8.74E-02

## LawOfReflection
protractor rotation angle	Reflection angle measurement	angle of incidence	angle of reflection	slope
140	141	-50	-51	0.97
130	129	-40	-39	intercept
120	119	-30	-29	-0.97
110	111	-20	-21	R Squared
100	99	-10	-9	0.99
80	81	10	9
70	71	20	19
60	51	30	39
50	49	40	41
40	39	50	51
Read this directly from protractor	Read this directly from protractor
Angle of incidence vs Angle of Reflection / Angle of Incidence [Degrees] / Angle of Reflection [Degrees]

## IndexOfRefraction-SnellsLaw
Experiment 1	Read this directly from protractor
measurement	incident angle [degrees]	angle of incidence [degrees]	n	thick1 [mm]	disp1[mm]	average n
1	105	15	1.41	75	14	1.410
2	107	17	1.59			Std Dev n
3	106	16	1.50			0.145
4	103	13	1.23
5	104	14	1.32

Experiment 2	Read this directly from protractor
measurement	Incident Angle [degrees]	angle of incidence [degrees]	n	thick2 [mm]	disp2 [mm]	average n
1	106	16	1.51	70	13	1.764
2	109	19	1.78			Stdev n
3	111	21	1.96			0.174
4	110	20	1.87
5	108	18	1.69